## Slide 1: 2024 SPN Vision Exchange

## Slide 2
Mark Barakat received his undergraduate degree in Computer Science from Duke University and his medical degree from the University of Pennsylvania. He completed residency training as chief resident at Hahnemann University, followed by retina fellowship at the Cleveland Clinic.
He is aretinal surgeon at Retinal Consultants of Arizona, Director of the Retinal Research Institute, Vice Chair of Clinical Research at American Vision Partners, Medical Director of Spectra Eye Surgery Center, and a Clinical Assistant Professor of Ophthalmology at U of Arizona College of Medicine.
He is beyond fortunate to have his wife, Monika, and his daughters, Jennah and Kathryn, to support him and remind him that there is life beyond retina.
Mark Barakat

## Slide 3: Retina Imaging and New Technologies
Mark Barakat, MD, FASRS

## Slide 4: Disclosures
AbbVie IncC
Adverum BiotechCR
AlconBC
AlimeraC
AllegroC
AllerganC
AmerisourceBergenC
Annexon BiosciencesCR
ApellisBC
Arctic VisionC
Bausch and LombC
BiocrystC
BiogenC
CalciMedicaCR
CelltrionC
Clearside BiomedicalCR
Coherus BiosciencesC
EyeBioR
EyePoint PharmaCR
Gemini TherapeuticsR
GenentechBCR
Gyroscope TherapeuticsR
Iveric BioBC
JanssenC
Kanghong/VanotechR
Kodiak SciencesCR
NovartisBCR
NeuBaseE
NeurotechC
Ocular TherapeutixCR
OculisR
OptheaCR
Outlook TherapeuticsC
OxularR
OxurionER
PerfuseR
Palatin TechnologiesC
RegeneronB
RegenxBioCR
ReNeuronR
RevOpsis TherapeuticsCE
RibomicR
RocheC
Stealth BiotherapeuticsCR
Unity BiotechnologyR
(B): Speakers’ Bureau; (C): Consultant; (E): Equity; (R): Grants/Research Support
Speaker is being compensated for their presentation today by International Physician Networks, L.L.C. (“SPN”). However, neither SPN nor any pharmaceutical company has influenced the content of this presentation nor has SPN independently verified the presentation for accuracy.

## Slide 6: SPECTRALIS® Confocal Scanning Laser Ophthalmoscopy (cSLO)
The confocal scanning laser ophthalmoscope (cSLO) in the SPECTRALIS® platform is an innovative technology for examining and imaging the retina and other eye structures.
Combining the selectivity of laser light with the pinpoint resolution of confocal scanning, the cSLO provides image detail and clarity not available from fundus photography1.
The cSLO technology not only offers documentation of clinical findings but also often highlights critical diagnostic details not visible on traditional clinical ophthalmoscopy. Since cSLO imaging minimizes the effects of light scatter, it can be used effectively even in patients with opacities.
1 Quinn NB et al. Confocal infrared imaging with optical coherence tomography provides superior detection of a number of common macular lesions compared to colour fundus photography.
Ophthalmic Physiol Opt. 2018 Nov;38(6):574-583

## Slide 7: SPECTRALIS® Confocal Scanning Laser Ophthalmoscopy (cSLO)
Confocal Optical Efficiency features…
No scattered light
  Illumination of individual pixels (pencil beam)
  Confocal pinhole rejects out-of-focus light
Low light exposure – about 10% of fundus camera1
Image through non-/poorly dilated pupils
…result in…
Enhanced image contrast
Detail
Sharpness
1 SPECTRALIS Bluepeak 30°x30° in high speed (0.393 mW·cm-2) compared to Topcon TRC-50DX nonmydriatic fundus camera (3.65 mW·cm-2). The Topcon TRC-50DX retinal camera has a retinal radiant exposure of 6.2 mW·cm-2·sr-1. (https://www.Topcon-medical.co.uk/files/EU_Downloads/Products/TRC-50DX/User_manual_-TRC-50DX_eng.pdf). Using the standard 50° angle photos, the solid angle is approximately 0.588 sr; resulting in a retinal radiant exposure of 3.65 mW·cm-2.

## Slide 8: Light Path of cSLO, Fixation Light, and OCT Combined Within SPECTRALIS®
Courtesy of Heidelberg Engineering GmbH
cSLO Light and Reflection
OCT Interferometer
Fixation Light

## Slide 9
SPECTRALIS® cSLO in Fluoresceine Angiography (FA) & Indocyanine Green Angiography (ICGA)
No detail in the bright areas corresponding to sick RPE
Fundus Camera
Courtesy of Prof. G. Staurenghi, Prof. F. Holz & E. Priel
Fundus Camera
cSLO
cSLO
FA
ICGA
Comparison between HRA and a digital fundus camera (same day and patient)
Notes: Top left FA fundus camera, no details in the bright areas corresponding to sick RPE). Bottom left ICG fundus camera, no details.

## Slide 10
SPECTRALIS® Fluorescein Angiography (FA)
Special features…
High resolution
Contrast
…result in…
Recognizability of details
Sharpness of edges
Courtesy of Prof. G. Staurenghi, Prof. F. Holz & E. Priel

## Slide 11: SPECTRALIS® Indocyanine Green Angiography (ICGA)
Special features…
High resolution
Contrast
…result in…
Even higher recognizability of details
Sharpness of edges
Feeder vessel
Courtesy of Prof. G. Staurenghi, Prof. F. Holz & E. Priel

## Slide 12
MC
SPECTRALIS® MultiColor and BluePeak Module
BluePeak
cSLO images allow for a detailed visualization of the fundus
Courtesy of Dr. R. Gallego-Pinazo
68-year-old female with blurry vision OD
MultiColor

## Slide 13
SPECTRALIS® Fluorescein Angiography (FA)
cSLO angiography provides high quality images in different fields of view
Macular neovascularization on FA
Courtesy of Dr. R. Gallego-Pinazo
30°
20°

## Slide 14
Courtesy of Dr. R. Gallego-Pinazo
FA
FA
SPECTRALIS® Fluorescein Angiography (FA)
Macular neovascularization on FA

## Slide 15
Courtesy of Dr. R. Gallego-Pinazo
SPECTRALIS® MultiColor Module
32-year-old male with type 1 diabetes and PDR

## Slide 16: SPECTRALIS® cSLO: Fields of View
Ultra-Widefield Module (102°)
Widefield Module (55°)
Standard objective (30°)
High Magnification Module (8°)
Anterior Segment Module
Courtesy:
ASM image: Courtesy Prof. Kruse, Prof. Mardin, Dr. Tornow, University Clinic Erlangen, Germany
Others: Heidelberg Engineering GmbH

## Slide 17
1.5 µm/px (digital) upgradeable
From Periphery to Detail​ – Additional SPECTRALIS® Lenses

## Slide 18
102°
55°
30°
Courtesy of Dr. R. Gallego-Pinazo
32-year-old male with type 1 diabetes and PDR

## Slide 19
Courtesy of Dr. R. Dolz-Marco
SPECTRALIS® High Magnification Module
High Magnification Module gives additional information of the fundus
32-year-old male with type 1 diabetes and PDR

## Slide 20: SPECTRALIS® Is More Than cSLO…
Dual-Beam Laser Scanning: True Multimodal Diagnostics
Confocal Scanning Laser Ophthalmoscope (cSLO) combined with
Eye-tracked spectral-domain Optical Coherence Tomograph (OCT)
IR cSLO
OCT
OCT
MultiColor
Courtesy of Heidelberg Engineering GmbH

## Slide 21
BAF
Atrophy of the RPE and outer retina with cystic changes
High quality, high resolution structural OCT scans
Courtesy of Dr. R. Dolz-Marco
SPECTRALIS® Core Technologies

## Slide 22
SPECTRALIS® Core Technologies
Different fields of view to target each lesion and customize examinations
Courtesy of Dr. R. Gallego-Pinazo
Macular neovascularization on FA and OCT

## Slide 23: SPECTRALIS® TruTrack Active Eye Tracking
TruTrack Active Eye Tracking is a patented imaging technology that utilizes two beams of light simultaneously to track and image the eye. Actively tracking the eye in real-time throughout image capture mitigates the effects of eye motion even when the patient blinks, resulting in accurate OCT scan data for all imaging modalities.
Additional clinical benefits of TruTrack Active Eye Tracking are precise, automated retinal follow-up scanning, central retinal thickness measurement reproducibility to 1 micron1, and excellent image quality throughout the volume scan. This superior performance allows for higher comfort for patients and a more effective management of patients, even in challenging cases with very small changes over time.

## Slide 24: TruTrack Active Eye Tracking: SPECTRALIS® Returns to the Exact Same Location
Reference scan tracks eye movement. OCT scan moved to match.
Scan location unknown if eye movement occurs.
OCT without Active Eye Tracking
Active Real-Time Eye Tracking
Courtesy of Heidelberg Engineering GmbH

## Slide 25: SPECTRALIS® TruTrack Active Eye Tracking: Eye Movements in AMD
6.4 seconds of eye tracking in a patient with AMD
Most of the time the patient fixates >100 µm outside of the fixational center.
The fixation rarely stays longer than 0.5 sec at the same position.
100 µm
200 µm
300 µm
Courtesy of Doheny Eye Institute, Los Angeles

## Slide 26
SPECTRALIS® TruTrack Active Eye Tracking: Exact Registration of OCT Scan and Fundus Image
Fundus image
OCT
Proof of precise registration: match of blood vessels in both images
Courtesy of Heidelberg Engineering GmbH

## Slide 27
TruTrack Active Eye Tracking is also available when using the 55º lens
Courtesy of Dr. R. Gallego-Pinazo
SPECTRALIS® Core Technologies
32-year-old male with type 1 diabetes and PDR

## Slide 28
TruTrack Active Eye Tracking allows to precisely follow-up our patients with OCTA
Courtesy of Dr. R. Gallego-Pinazo
SPECTRALIS® Core Technologies
32-year-old male with type 1 diabetes and PDR

## Slide 29
SPECTRALIS® AutoRescan
Using the SPECTRALIS® fundus image like a map, the AutoRescan function automatically places follow-up scans in precisely the same position visit after visit. Accurate, automatic placement of follow-up scans is important for optimizing patient flow and for confident recognition of the small structural changes that are critical to the effective management of many ophthalmic conditions.
Studies have shown that SPECTRALIS with AutoRescan technology can reliably measure changes in central retinal thickness as small as 1 micron1.

## Slide 30
SPECTRALIS® Reliable Follow-Up Examinations with AutoRescan
Baseline exam
6 week anti-VEGF therapy
12 week anti-VEGF therapy
Courtesy of Heidelberg Engineering GmbH

## Slide 31
Reliable Follow-Up Examinations with SPECTRALIS® TruTrack Active Eye Tracking and AutoRescan
Even in cases of…
Pan-uveitis
Vitreous hemorrhage
Gross distortions of retinal anatomy
Courtesy of Dr. R. Dolz-Marco
55° OCT

## Slide 32
SPECTRALIS® Noise Reduction
SPECTRALIS® Noise Reduction is a proprietary technology that reduces noise inherent in OCT and scanning laser imaging. By capturing multiple images in the exact same location this technology is able to differentiate structural information from noise and then effectively reduce noise.
The resulting images from vitreous through choroid and across the entire posterior pole are of high contrast and exceptional detail. SPECTRALIS Noise Reduction technology is powered by TruTrack Active Eye Tracking, which allows accurate capture of multiple images in the same anatomical spot – the critical element for effective noise reduction.

## Slide 33
SPECTRALIS® Noise Reduction
Without Noise Reduction
With Noise Reduction
Without Noise Reduction
With Noise Reduction
Courtesy of Maria Andreu-Fenoll

## Slide 34: SPECTRALIS® OCT is Comparable to Optical Histology
Courtesy:
1. Bhutto I, Lutty G. Understanding age-related macular degeneration (AMD): relations between the photoreceptor/ retinal pigment epithelium/ Bruch’s membrane/ choriocapillaris complex. Mol Asp Med. 2012;33:295-317.
2. Staurenghi G, et al. Proposed lexicon for anatomic landmarks in normal posterior segment spectral-domain optical coherence tomography: the [IN • OCT] consensus. Ophthalmology. 2014;121:1572-8.
Histology1
2

## Slide 35: SPECTRALIS® OCT is Comparable to Optical Histology
SPECTRALIS allows a detailed visualization of 15 structures in a healthy eye. This includes the 10 layers of the retina (ILM, RNFL, GCL, IPL, INL, OPL, HFL*/ONL, ELM, the layer of inner and outer segment of photoreceptors and the RPE) plus the myoid zone, the ellipsoid zone, the interdigitation zone, Bruch’s membrane, choriocapillaris as well as medium and large choroidal vessels. *HFL belongs anatomically to the OPL, but seems to be a part of the ONL in OCT. It is not always distinguishable.
1 Internal Limiting Membrane
2 Retinal Nerve Fiber Layer
3 Ganglion Cell Layer
4 Inner Plexiform Layer
5 Inner Nuclear Layer
6 Outer Plexiform Layer
7 Henle Fiber Layer
8 Outer Nuclear Layer
9 External Limiting Membrane
10 Myoid Zone
11 Ellipsoid Zone Layer of Inner and Outer Segment of Photoreceptors
12 Interdigitation Zone
13 RPE-Bruch‘s Membrane Complex
14 Choriocapillaris
15 Medium and Large Choroidal Vessels
Notes: Here to the right, you can see an SD-OCT scan taken with our device. This was used in comparison with histology to identify what we are actually looking at. The better the resolution and signal-to-noise ratio, the better you can explore what you see.

## Slide 36
Visualizing 10 Retinal Layers in SPECTRALIS® OCT
Courtesy of Heidelberg Engineering GmbH

## Slide 37: Multimodality Diagnostics with SPECTRALIS®
Courtesy of Heidelberg Engineering GmbH

## Slide 38: Multimodality Diagnostics with SPECTRALIS®
A. Structural OCT
Subretinal drusenoid deposits
Calcified drusen
Descent of the external limiting membrane
Persistent basal laminar deposits in the atrophy bed
Type 3 macular neovascularization
Drusenoid pigment epithelial detachment
Acquired vitelliform lesion
Type 1 macular neovascularization
Outer retinal tubulation
B. Near-infrared reflectance with OCT showing subretinal drusenoid deposits1
C. BluePeak autofluorescence showing calcified drusen2
D. OCT angiography supports in differentiating neovascularization, as in this case of persistent basal laminar deposits in an area of RPE and outer retinal atrophy4
E. Fluorescein & indocyanine green angiography visualize type 3 macular neovascularization or retinal angiomatous proliferation5
F. MultiColor showing type 1 macular neovascularization8
1. Chen L. Retina. 2020 Apr;40(4):618-631. PMCID: PMC7103566.
2. Tan ACS. Sci Transl Med. 2018 Nov 7;10(466):eaat4544. PMID: 30404862.
3. Dolz-Marco R. Am J Ophthalmol. 2018 Sep;193:166-177. PMID: 29981740.
4. Tan ACS. Invest Ophthalmol Vis Sci. 2017 Apr 1;58(4):2349-2358. PMID: 28437524
5. Li M. Ophthalmology. 2018 Feb;125(2):276-287. PMID: 28964579.
6. Balaratnasingam C. Invest Ophthalmol Vis Sci. 2016 Oct 1;57(13):5479-5489. PMID: 27760262.
7. Chen KC. Am J Ophthalmol. 2016 Apr;164:89-98. PMID: 26868959.
8. Curcio CA. Am J Ophthalmol. 2015 Nov;160(5):1024-1033.e3. PMID: 26255578.
9. Dolz-Marco R et al. Ophthalmology. 2017 Sep;124(9):1353-1367. PMID: 28456420.

## Slide 39
SPECTRALIS® Upgradeable Platform
SPECTRALIS® is a truly flexible and upgradeable imaging platform. Customize your SPECTRALIS precisely to your individual needs, confident in the knowledge that your OCT will grow with your clinic. As new technology becomes available, simply add new imaging modalities to your SPECTRALIS, providing you with additional information to enhance clinical decision-making and preserving patient data for precise follow-up.
Courtesy of Heidelberg Engineering GmbH

## Slide 40: Maestro2 Spectral vs Triton Swept Source
SPECTRAL - 2006
50 KHz Engine – fast
  128 B-Scans
840 nm Wavelength
  Excellent Retinal Resolution
  Marginal Choroidal Resolution
  Limited Opacity Punch-Through
SWEPT SOURCE - 2012
100 KHz Engine– faster
  256 B-Scans
1050 nm Wavelength
  Excellent Vitreous, Retinal and Choroidal Resolution
  Excellent Opacity and Choroidal Penetration
Notes: What are the differences between our OCT engines, exactly? Maestro is a Spectral Domain OCT with a 50 Khz scan engine scanning 128 lines of retina in just a few seconds. Triton is a Swept Source OCT with a 100Khz engine scanning twice as fast at twice the density. Maestro has an OCT Wavelength of 840 nm, Triton has 1050; so what does that even mean? While Maestro and Triton both produce astonishing retinal detail, Triton’s longer wavelength offers greater image detail from vitreous to choroid, and has the ability to cut through challenging opacities such as corneal scarring, cataracts and blood.

## Slide 41
Maestro2: Normal Eye - 5 Line Cross/Line H
Topcon Image Bank, Michael Chen, OD
Notes: Aside from cube scanning, Maestro is also capable of exquisite high-definition B-Scans as well. The upper left image is our 5 Line Cross scan with 4x image averaging, and the lower scan is our Line H scan with 50x averaging. This higher res image quality may help beyond what is obtained in our wide area cube scans.

## Slide 42: Triton Swept-Source OCT Fundus Camera
Triton, Triton FA, Triton Plus
  Color/Red-Free/IR
  FAF and FAF/FA Models
SS-OCT is Deep, Fast and Invisible
  100 KHz SS-OCT
  Deep Range Imaging –
    Vitreous-to-Choroid IN FOCUS
    Choroidal Penetration
    Opacities Penetration
Notes: Triton does a lot and scans very deep, very fast, and is mostly invisible to patients. Every OCT scan is captured with a color, red-free, infrared and an optional fundus autofluorescence image. Deep Range Imaging means even focus from vitreous to choroid, and the ability to penetrate dense opacities like cataract, blood, and uveitis.

## Slide 43: Normal Triton Scan Line H - Single 128x oversampled scan, 12 mm long
Notes: This is a normal B-Scan from Triton showing exquisite resolution and choroidal penetration down to the scleral wall. The scan has been tilted to image through the nerve and fovea in one slice.

## Slide 44
Triton: Papilledema – 3D Rendering
Jay Haynie, OD
Notes: Here is a case of Papilledema OU. With our cube scans, you can view pathology like this in 3-D, a clinical tool that may help you underscore a patient’s condition in relatable, visually striking terms.

## Slide 45
Triton: 3D Wide “Combination Scan”
Ranjit Dhaliwal, MD
256 Horizonal Volume B-Scans
10 High Definition B-Scan
Notes: Triton offers a clever 3D Wide Combination Scan, with 256 slices of retina 27 microns apart, and another 10 lines of higher definition images centered on the fovea – offering the best of both worlds – dense scanning and high definition OCT. This scan casts a very fine net, helping you catch hard-to-see abnormalities.

## Slide 46: Triton has Spaide FAF
AMD – Drusen, Geographic Atrophy
AMD “Masqueraders”– MacTel, CSR, Polypoidal
Optic Nervehead Drusen
CSR
MacTel
ONHD
GA
Topcon Image Bank, Michael Chen, OD
Notes: Topcon Triton has the option of Autofluorescence. These stunning FAF images show macular drusen and geographic atrophy in the top half of the slide. FAF also helps distinguish AMD from so-called “AMD Masqueraders” like Central Serous, MacTel, and Polypoidal. Lastly, you can use your FAF capabilities to ascertain the presence of Optic Nervehead Drusen.

## Slide 47
Ranjit Dhaliwal, MD
DRI = Deep Range Imaging
Topcon Image Bank, Michael Chen, OD
Jay Haynie, OD
Notes: DRI means Deep Range Imaging. The case on top shows an elevated pigmented lesion with subretinal fluid. Notice how Triton easily penetrates this lesion down to the sclera. Also, note how FAF helps circumscribe areas of subretinal fluid which is also rendered in the B-Scan. The bottom left mage is an example of Triton’s ability to penetrate thickened areas of old blood in an end-stage AMD pt. The bottom right image is Triton easily imaging through blood from a Central Retinal Vein Occlusion.

## Slide 48
45 degree Color Photo
DIFFICULT TO SCAN?
Jay Haynie, OD
Notes: Our last case is untreated diabetic retinopathy displaying the “Wolf Jaw” appearance common with Proliferative Neovascular Fibrosis. Scanning through the open fibrotic window 2000 microns above the retina, Triton easily penetrates, rendering a somehow intact and flat macula with a visual acuity of 20/80.
CLICK on VIDEO With Triton’s 3-Dimensional rendering capability, one can make out the ovoid cysts as we rotate the cube back and forth. Of note, this patient was initially scanned with a spectral domain OCT with no success. Deep Range Imaging technology made this capture sequence possible.

## Slide 91: What’s next for GA?

## Slide 93: Optos UWF
California & Silverstone

## Slide 94: UWF Clinical Impact
2800+ studies have demonstrated the value of optomap in a variety of diseases
optomap has been demonstrated to visualize 250+ different disease states
Studies demonstrate the equivalence of optomap with 2 field, ETDRS 7 standard field, 9 field and OCT for the evaluation of DR and DME and is superior at identifying high risk PDR
optomap is equivalent to standard imaging technologies for evaluating AMD, glaucoma, uveitis and ROP
Using an optomap to guide your BIO exam can increase sensitivity by 30%
optomap reveals that 66% of pathology is outside of the area visualized by traditional small field imaging
89.2% sensitivity in detecting peripheral retinal lesions
optomap defines the extent of normal retinal vasculature as 977mm2 and 893mm2 as normal choroidal circulation
optomap identified that there are more vortex vein ampullae on average in the choroid
optomap finds up to 50% more lesions in the periphery in eyes with diabetic retinopathy which have been shown to increase risk of progression
  Nonperfusion (NP) area of 77.48mm2 on optomap fa was identified as the level at which patients may have an increased risk of developing PDR
  Eyes with at least 107.3 disc areas of nonperfusion (NP) are at risk PDR, and eyes with NVD have the largest area of retinal nonperfusion
  Over 70% of NP in diabetic eyes is located outside the posterior pole
Age-related macular degeneration – 97% of patients have peripheral age-related changes
UWF imaging and DFE did not differ significantly in the detection of peripheral retinal tears
Uveitis/Vasculitis – management is changed 51% of the time using optomap
Navigated UWF SS-OCT images directly contributed to changing management plans (laser, injection or surgical treatment) in 38% of patients
optomap fa finds 92% of sickle cell patients had peripheral microvascular abnormalities undetected by 7SF FA and 25% missed in exam
optomap icg demonstrated 67% of eyes have peripheral changes not detected by traditional small field imaging

## Slide 95
Optos Multimodality Imaging
Imaging the same anatomy with different wavelengths
Each wavelength penetrates a different layer providing unique information
optomap provides 4 in 1 capture:
  RGB
  RG
  Red free / Green channel / Sensory (532nm)
  Red channel / Choroidal (635nm)
2 wavelengths of AF:
  Blue (488nm)
  Green (532nm)
OCT:
  Standard
  WF (23mm)
  Navigated
FA (488nm)
ICG (802nm)

## Slide 96
California RGB
Multi-modal 200° image capturing 82% of the retina in less than .5 seconds
Can be steered in 4 directions which can be montaged for 95% of the retina
Images captured non-mydriatic
optomap RGB contains three wavelengths:
  Red – 633 nm
  Green – 532 nm
  Blue - 488 nm
optomap RG
  Red – 633 nm
  Green – 532 nm
  Blue - 488 nm
optomap af includes two wavelengths of autofluorescence
  Green – 532 nm
  Blue - 488 nm
May also have FA and / or ICG
optomap RG
optomap RGB
Macular zoom
Macular zoom

## Slide 97: Reading center comparison of optomap RG and optomap RGB
The image assessment from the optomap RGB images were non-inferior to optomap RG
Graders reported small differences in brightness and contrast along vessels, borders of the optic nerve head and definition of the edges of lesions in 16.6% of eyes
Reference: Hamil. Addition of Blue Reflectance Image to Red Green 200 Ultra-widefield Images. ARVO. 2023

## Slide 98: optomap RG vs RGB
optomap RG confers an advantage:
  Vascular disease1, 2-8
  RPE changes1
  Pigment dispersion due to laser1
  Deep retinal hemorrhages in DR1, 2-8
  Nevus and pigmented lesions9
  Myopia10,11
  Ocular oncology10,11
  Inflammatory disease10,11
  Inherited retinal disorders10,11
optomap RGB confers an advantage:
  Optic nerve anatomy1
  Hyaloid reflection1
  PVR subretinal band1
  Superficial retinal hemorrhages1
  Neovascularization1
  Peripheral retinal abnormalities (holes, tears, lattice) 1
  Ghost vessels or ischemia1
  Enhanced contrast between the retinopexy1
  Retinoschisis12
References: 1. Stanga. 2023 2. Kernt. 2011 3, Kernt. 2012 4. Silva. 2012 5. Silva. 2013 6. Rasmussen, 2015 7.Silva, 2017 8, Aiello, 2018 9. Gordon-Shaag, 2014 10. Nagiel. 2016 1.. Kumar, 2021 12. OT, 2023

## Slide 99: optomap RG vs RGB
Optos RGB vs Topcon color montage (dilated) vs Heidelberg Multicolor 55-degree steered images
80 eyes
116 retinal and choroidal pathologies
59 optic nerve pathologies
Optos RGB was significantly superior in diagnostic information compared to gold standard Topcon
Optos RGB was superior to Heidelberg Multicolor
Optos RG superior to Optos RGB in pigmented choroidal lesions
References: Nagel. Comparison of a novel ultra-wide field three color scanning laser (Optos Red-Green-Blue) to other retinal imaging modalities in imaging of choroidal or retinal lesions. ARVO. 2024

## Slide 100
97% of the retina
optomap RGB montage
optomap RG montage
Retinal Detachment
Notes: California - Retinal Detachment - RG, RGB, AF Montage

## Slide 101
Retinal Detachment
(same case as previous slide)
optomap RGB zoomed view
optomap RG zoomed view
Notes: California - Retinal Detachment - RG, RGB, AF Montage

## Slide 102
PDR with PRP
optomap RGB montage
optomap RG montage
97% of the retina
Notes: California - Proliferative Diabetic Retinopathy with PRP - RG, RGB Montage

## Slide 103
Atrophic Changes
optomap RGB montage
optomap RG montage
97% of the retina
Notes: California - Retinal Pigment Epithelial Window Defect - RG, RGB Montage

## Slide 104
optomap RG zoomed view
Atrophic Changes
(same case as previous slide)
optomap RG zoomed view
Notes: California - Retinal Pigment Epithelial Window Defect - RG, RGB Montage

## Slide 105
Proliferative Diabetic Retinopathy
optomap RGB
optomap RG
Notes: California - Proliferative Diabetic Retinopathy - Full steer - RG, RGB, AF, FA

## Slide 106
Proliferative Diabetic Retinopathy
(same case as previous slide)
optomap RGB
optomap RG
optomap sensory (red-free / green channel)
optomap fa
Notes: California - Proliferative Diabetic Retinopathy - Full steer - RG, RGB, AF, FA

## Slide 107
BRVO
optomap RGB
optomap RG
Zoomed view
Zoomed view
Notes: California - Branch Retinal Vein Occlusion with Macular Edema (OD) Venous Tortuosity (OU) - RG, RGB, AF

## Slide 108
Choroidal nevus
optomap RGB
optomap RG
Zoomed view
optomap sensory (red-free /
green channel)
optomap choroidal (red channel)
Zoomed view
Notes: California - Nevus with Drusen - RG, RGB

## Slide 109
Choroidal nevus
optomap RGB
optomap RG
Zoomed view
optomap sensory (red-free /
green channel)
optomap choroidal (red channel)
Zoomed view
Notes: California - Bilateral Peripheral Nevus (OD - High risk) - Full steer - RG, RGB, AF

## Slide 110
Choroidal melanoma post Plaque with RVO
optomap RGB
optomap RG
Notes: California - Choroidal Melanoma post Plaque, Retinal Vein Occlusion (OS) - RG, RGB, AF

## Slide 111
Choroidal melanoma: Radiation Retinopathy
optomap RGB
optomap RG
Notes: California - Radiation Retinopathy, Choroidal Melanoma (OD) - RG, RGB, FA

## Slide 112
Choroidal folds
optomap RGB
optomap RG
Zoomed view
optomap sensory (red-free /
green channel)
optomap choroidal (red channel)
Zoomed view
Notes: California - Idiopathic Choroidal Folds (OD) - RG, RGB, BAF

## Slide 113
Geographic atrophy
optomap green af
optomap blue af
optomap RGB
Zoomed view
optomap red free
optomap red channel
optomap RG
Notes: RCSD – 020 AF not denoised

## Slide 114
Geographic atrophy
optomap green af
optomap blue af
Green zoomed view
Blue zoomed view
Notes: RCSD – 020 AF not denoised

## Slide 115
Geographic atrophy
optomap green af
optomap blue af
optomap RGB
Zoomed view
optomap red free
optomap red channel
optomap RG
Notes: RCSD 015 - AF not denoised

## Slide 116
Geographic atrophy
optomap green af
optomap blue af
Green zoomed view
Blue zoomed view
Notes: RCSD 015 - AF not denoised

## Slide 117
Geographic atrophy
optomap green af
optomap blue af
optomap RGB
Zoomed view
optomap red free
optomap red channel
optomap RG
Notes: RCSD – 006 AF not denoised

## Slide 118
Geographic atrophy
optomap green af
optomap blue af
Green zoomed view
Blue zoomed view
Notes: RCSD – 006 AF not denoised

## Slide 119
Geographic atrophy
optomap RGB
Zoomed view
optomap RG
optomap green af
optomap blue af
optomap red free
optomap red channel

## Slide 120
Silverstone
World’s first UWF SLO device combined with peripheral SS OCT
Multi-mode imaging: RG SLO + OCT (anywhere) + AF + FA + ICGA
  Posterior Pole scans
  Line (14 mm or 48 degrees)
  Raster (14 x 9 mm, 121 B scans)
  Retina (9 x 9 mm or 30o x 30o, 111 B scans)
  ONH (6 x 6 mm or 20o x 20o, 111 B scans)
  OCT ANYWHERE
  UWF Extended Line Scan (23 mm or 80 degrees)
  UWF Line Scan (6 mm or 20 degrees)
  UWF Volume Scan (6 x 6 mm or 20o x 20o, 121 B scans)
  UWF HD Volume Scan (3.5 x 6 mm or 20o x 12o, 121 B scans)

## Slide 121: Multi-mode Clinical Strengths
Multi-mode imaging allows clinicians to interpret many helpful modalities all in one:
UWF SLO (Optomap):
  Great screening tool
  Capture peripheral damage that can be missed
  Importance of periphery for evaluating retinal tears, schisis, and of course DR
AF
  Typically reveals drusen and GA better
  May reveal additional metabolic problems
  Especially useful for AMD patients
FA
  Reveals areas of active leakage
  Reveals areas of ischemia
  Especially useful for AMD and DR
ICGA
  Reveals areas of active leakage in deeper retinal layers like choroid
  Especially useful for AMD
OCT
  Cross section view reveals pathologic changes under the surface
  Especially useful for all ocular pathologies

## Slide 122
Advantages of Swept Source OCT
Faster Speed (100,000 A scans per second)
Deeper Penetration (Great choroid visibility)
Better visibility through poor media (cataracts, blood, etc)
Higher sensitivity throughout scan, capture vitreous and choroid in the same scan (top to bottom sensitivity better than Spectral Domain OCT, no EDI necessary)
Invisible OCT scan beam

## Slide 123
Non-mydriatic UWF guided OCT
6mm Line
Single Position, Single Gaze
Fast
Easy
Registered to Optomap
Follow-up imaging possible in same location
Optomap guided Peripheral SS-OCT

## Slide 124: Feasibility and Clinical Utility of Ultra-Widefield–Navigated Swept-Source Optical Coherence Tomography Imaging
In 38% of patients images directly contributed to management plans (laser, injection or surgical treatment)
“Navigated UWF SS-OCT imaging was clinically practical and provided high-quality characterization of peripheral retinal lesions for all eyes.”

## Slide 125: Silverstone Research
Impacted management and was useful in determining the presence or absence of vitreoretinal traction with retinal holes or tears1
Helpful in differentiating retinal detachment, schisis-detachment and retinoschisis in cases where it was not apparent clinically1
Novel findings such as vitreous adhesion at the posterior border of a retinal dialysis1
When performed before and immediately following laser retinopexy and cryopexy, microstructural changes were consistent with chorioretinal adhesion1
Diabetic choroidopathy progresses with worsening of DR toward proliferative disease2
Choroidal depletion is more prominent in the macula2
The use of this new tool has the potential to expand our understanding of various posterior-segment inflammatory diseases and to monitor the response to treatment3
Notes: 1. Lee. Single-capture ultra-widefield guided swept-source optical coherence tomography in the management of rhegmatogenous retinal detachment and associated peripheral vitreoretinal pathology. Br J Ophthalmol . 2022 May 26
2. Nicolini. Assessment of Diabetic Choroidopathy Using Ultra-Widefield Optical Coherence Tomography. Translational Vision Science & Technology March 2022, Vol.11, 35.
3. Marchese. The Next Steps in Ocular Imaging in Uveitis. Ocul Immunol Inflamm . 2022 Apr 12;1-8.

## Slide 126
Atypical Retinal Schisis

## Slide 127: Peripheral Atrophic Hole with Fluid

## Slide 128: Retinal Tear

## Slide 129: Active Proliferative Diabetic Retinopathy
Image courtesy of Paulo Stanga

## Slide 130: Far Peripheral Tear

## Slide 131: Retinal Hole

## Slide 132: Treated Operculated Retinal Hole

## Slide 133: Choroidal Nevus

## Slide 134: Nevus with fluid

## Slide 135: AMD with CNV

## Slide 136: AMD with CNV

## Slide 137: Proliferative Diabetic Retinopathy

## Slide 138: Epiretinal Membrane

## Slide 139: Glaucoma

## Slide 140: Lattice with Retinal Break (repaired)

## Slide 141: Pavingstone Degeneration

## Slide 142: Lattice Degeneration and Retinal Schisis

## Slide 143: PDR

## Slide 144: Post Detachment ERM

## Slide 145: Repaired Retinal Detachment with Multiple Breaks

## Slide 146: Retinal Hole

## Slide 147: GA, Cobblestone Degen, and Retinal Schisis

## Slide 148: Sickle cell
Image courtesy of Paulo Stanga

## Slide 149: VKH
Image courtesy of Paulo Stanga

## Slide 150: Home OCT
Home OCT Indication for use:
The Notal Vision Home Optical Coherence Tomography (OCT) System is an Artificial Intelligence (AI)-based Home Use device indicated for visualization of intraretinal and subretinal hypo-reflective spaces in a 10 by 10-degrees area centered on the point of fixation of eyes diagnosed with neovascular age-related macular degeneration (NV-AMD). In addition, it provides segmentation and an estimation of the volume of hypo-reflective spaces. The Notal Home OCT device is intended for imaging at home between regularly scheduled clinic assessments and not intended to be used to make treatment decisions or replace standard-of care regularly scheduled examinations and clinical testing as needed, including in-office imaging and assessments for changes in vision, by an ophthalmologist.
See program user manual for additional information

## Slide 151: UNMET NEEDS: Limitations of nAMD Management
Despite effective treatments only 34% of nAMD patients have functional vision1
Multi-year outcomes in real-world studies lag behind those seen in clinical trials2
Significant burden on physicians, patients and caregiver, with impact on clinical outcomes3
1Ho et al. Ophthalmic Surgery, Lasers and Imaging Retina (2020)
2Khanani et al. Ophthalmology Retina (2020)
3Meer et al. Retina (2024)

## Slide 152
VA (Letters)
70 –
65 –
60 –
55 –
50 –
45 –
40 –
75 –
5
4
3
2
1
80 –
85 –
Ho, AC, et al. Ophthalmic Surg Lasers Imaging Retina. 2020 Nov 1;51(11):633-639
CATT Research Group. Ophthalmology. 2016;123(8):1751-1761.
Clinical Trial Results Show Effectiveness of Anti-VEGF Treatments
CATT/MARINA STUDY4
Treatment Trials
-3 Letters
5 Years4
+8 Letters
2 Years
+9 Letters
1 Year
20/60
20/40
Baseline VA
20/25
Intermediate Dry AMD
IRIS Treatment Initiation mean VA 20/83
CNV Onset

## Slide 153: Real World wet AMD outcomes are inferior to clinical trials
VA (Letters)
70 –
65 –
60 –
55 –
50 –
45 –
40 –
75 –
5
4
3
2
1
80 –
85 –
-6 Letters
4 Years5
-4 Letters
3 Years5
-2 Letters
2 Years5
+0.5 Letter
1 Year5
Khanani AM, et al. Ophthalmol Retina. 2020 Feb;4(2):122-133.
20/60
Baseline VA
20/25
Intermediate Dry AMD
IRIS Treatment Initiation mean VA 20/83
CNV Onset
SIERRA STUDY5
Real-World Data
20/40

## Slide 154
IN-BETWEEN OFFICE VISITS
VISIT 1
VISIT 2
CASE 1
CASE 2
Home OCT Provides Physicians Actionable Insights Between Office Visits Images with AI-based identification and estimation of disease biomarker
Notes: The current management of nAMD relies on OCT images acquired in the office taken during pre-specified patient visits. Here we see example of two eyes, both show significant amount of sub-retinal fluid on their pre-specified office visits. However, if we look at the data collected in between the office visits we can see that one eye had full resolution of fluid, while the other eye had persistent sub-retinal fluid.

## Slide 155
Home OCT carries potential to personalize and optimize nAMD management
CASE 1
CASE 2
Home OCT Provides Physicians Actionable Insights Between Office Visits Trajectories of imaging biomarker allow monitoring of disease activity and treatment response
Notes: The promise of home OCT is for patients to acquire such images in between in-office visits, that are automatically quantified by an AI-based algorithm. The fluid level is plotted as a trajectory over time, giving us granular information on temporal fluid behavior.

## Slide 156: BURDEN ON PATIENT AND CAREGIVERS
nAMD poses severe burden on the patients and caregivers
Patient reported times:
Total time: 12 hours
Preparation: 16 min
Travel: 66 min
Waiting: 37 min
Treatment: 43 min
Recovery: 9 hours
59% of patients report accompanied by caregiver
WET AMD VISITS PRODUCTIVITY COSTS: $116.82 per visit
~$700 per patient/year or >$1 billion per year
Dang et. al. American Society of Retina Specialists (2023)

## Slide 157: SOLUTIONS ON THERAPEUTIC FRONT
THERAPIES TO SUPPORT EXTENDED TREATMENT AND LESS PATIENT BURDEN
BI-SPECIFIC & HIGH DOSE AGENTS
FARICIMAB AND AFLIBERCEPT 8-mg
CONTINUOUS DELIVERY SYSTEM
Gradual continuous delivery of the drug. Refills every 6 months
GENE THERAPY
Using cellular mechanism to generate anti-VEGF protein
Clinical trials demonstrate extension with monthly visits:
~60% to 16 weeks
~80% to 12 weeks
Khanani AM et. al. IOVS June 2021.
We are in new era of AMD treatments, that points to new era of diagnostics!

## Slide 158: ROLE OF ARTIFICIAL INTELLIGENCE

## Slide 159: Role of Artificial Intelligence
Near daily remote monitoring is not feasible without AI
Physicians can’t practically review all the home OCT images acquired by their patients
Notes: While granular data collected by home OCT can be beneficial, it is not practical for physicians to review such high volume of images.

## Slide 160: Role of Artificial Intelligence
AI Powered algorithm automatically quantifies relevant biomarkers
AI converts 3-dimensional volume scans to 1-dimensional biomarker trajectory, making physician reviews seamless
Volume Scan HRO Overlay
HRO Projection
TRO Trajectory
HRO: Hypo-reflective spaces | TRO: Total retinal hypo-reflective spaces
Notes: This is where role of AI becomes critical. AI based algorithm detects and quantifies intra and subretinal fluid. This is presented as fluid thickness maps and also the data collected over time is displayed longitudinally. Now physician can see fluid dynamics from OCT images collected over an extended period in a single snapshot.

## Slide 161: AI-based Identification of Imaging Biomarkers for nAMD Management
Terminology to Understand Key Biomarkers
Abbreviation | Term | Description
HRS | HypoReflective Spaces | Low reflectance abnormal spaces in the retinal OCT image
IRO | IntraRetinal HypOreflective Space | Description of HRS based on retinal compartments
SRO | SubRetinal HypOreflective Space | 
TRO | TotalRetinal HypOreflective Space | 
VU | Volume Units | The units for hyporeflective spaces

## Slide 162: Use of Imaging vs Physical Biomarkers
Imaging biomarkers are more precise description of structures seen in nvAMD
Pseudocysts
Outer Retinal Tubulation
Certain abnormal hyporeflective spaces may not represent treatable exudative fluid, but are characteristics of the disease
Hence it is important to use HRS terminology as an umbrella term to define such structures
IRO, SRO, TRO can represent IRF, SRF and TRF when fluid of interest is present in those areas
1-VU is numerically equal to 1-nL

## Slide 163: IMPLEMENTATION OF HOME OCT

## Slide 164: Practical Challenges in Home Monitoring
Patient training
Adherent testing at home
Insurance benefit verifications and technical support
Responding to notifications based on testing

## Slide 165
Home OCT Monitoring Program Workflow
Ophthalmologist
Monitoring Center
Patient’s Home
Provides patient with Home OCT and necessary support for regular monitoring
Refers patient to the Notal Vision Monitoring Center for Home OCT
Monitoring Center Cloud
Patients regular OCT scans are automatically transmitted to AI-powered cloud service for analysis
Ophthalmologist reviews images, projection maps, HRS trajectories, and sets thresholds for notification by Monitoring Center
3 mm,
500 A-scans
3 mm,
88 B-scans
IRO & SRO Estimation
Bills data review every 30 days
(0606T)
Bills setup and education once; data analysis and reports every 30 days; maintains ownership of device (0604T, 0605T)
Patient co-pay for service dependent on level of insurance
IRO: Intra-retinal hypo-reflective spaces | SRO: Sub-retinal hypo-reflective spaces | HRS: Hypo-reflective spaces

## Slide 166: Home OCT Patient Device
            Key Features
            Portable device: size 14”x11”x14” (WxDxH), weight <16 lbs.
            Patient self-setup and self-operation
            Automatic data transmission via built-in wireless connection
            AI-enabled estimation of hypo-reflective spaces
A00140297, 8/15/2023, OS
A00140297, 8/15/2023, OS
IRO SRO
IRO: Intra-retinal hypo-reflective spaces | SRO: Sub-retinal hypo-reflective
EASY-TO-USE PATIENT SELF-OPERATED CONNECTED DEVICE
1. https://clinicaltrials.gov/study/NCT04907409
            Imaging System Specifications
            Spectral-domain optical coherence tomography (SD-OCT)
            Scan area: 10 x 10 degree (3mm x 3mm)
            High density volume scan with up to 88 B-scans and 34 µm spacing
            Self-imaging time < 1 minute per eye1

## Slide 167: Home OCT Physician Portal
  Patient Monitoring at Home
0
Notification
1
Physician-led Patient Management Via Remote Access to OCT Images and AI-based Analyses
Order program for patients
Review images and analyses
Set notification criteria
Review notifications
Report patient management decisions and treatments
IRO: Intra-retinal hypo-reflective spaces | SRO: Sub-retinal hypo-reflective spaces | TRO: Total retinal hypo-reflective spaces
Imaging / Analysis / Tracking
OCT images with and without IRO and SRO segmentation overlay
TRO area ranked B-scans
IRO and SRO projection
TRO volume trajectories

## Slide 168
  Patient Monitoring at Home
0
Notification
1
Physician Notification and Patient Management Workflow
Notes: While patients take nearly daily home OCT images at the comfort of their home no action from the investigating physicians is needed, until a notification is generated by the system. The notification is sent via an email to the investigator and the specified personnel of the site’s study team.

## Slide 169: TRO Volume & Time Interval Notifications
TRO: Total retinal hypo-reflective spaces
TRO Volume email notifications are generated when TRO volume exceeds the set thresholds
Time Interval email notifications are generated when the number of days exceeds the set threshold
Notes: The notifications are generated based on the parameters set by the investigators. The physicians can set a fluid-based notification by setting a threshold for intra, sub or total retinal fluid. The physicians also a time-based notification reminder for periodic review of data.

## Slide 170
  Patient Monitoring at Home
0
Notification
1
Office Visit Procedures
3
  Treated?
4
  Fluid observed on in-office OCT
  Visit Required?
2
  Fluid notification or other clinical need
NO
YES
  Treatment
5
YES
A
B
Physician notification and patient management workflow
Notes: If on notification review, physician determines an office visit is needed. The patient is evaluated in the office and a treatment decision is made.

## Slide 171: EVIDENCE BEHIND HOME OCT

## Slide 172: Home OCT: The State of Evidence
1. SELF-IMAGING & HOME USE
2. AUTOMATED FLUID QUANTIFICATION
3. IMPACT ON PATIENT MANAGEMENT
PRACTICALITY
ACCURACY
VALUE
Notes: Let’s discuss key elements required for home OCT to be practical and evidence available to date to support each of them. The 3 key elements we will discuss in this presentation are ability of the patients to self-acquire data and use the device at home for the extended period. The fidelity of AI algorithms to automatically detect and quantify the fluid levels. And finally, evidence along the lines of impact of home OCT on physician decision making and patient management.

## Slide 173: Home OCT: The State of Evidence
1. SELF-IMAGING & HOME USE
2. AUTOMATED FLUID QUANTIFICATION
3. IMPACT ON PATIENT MANAGEMENT
Kim et al. (cross-sectional)
335 patients
4 sites
91% successful imaging rate
Patients with VA >20/320 had high success during imaging
High rate of successful self-imaging and adherence to home OCT use. Important for patients to have wireless internet connection.
Liu et al. (longitudinal)
15 patients
2 sites
96% successful imaging rate
Monitoring period: 3 months
Adherence: 5.7 scans/wk
Patient experience: All satisfactory or higher
Blinder et al., Protocol AK (longitudinal)
14 patients, 3 sites
Monitoring period: 6 months
Adherence: 6.3 scans/wk
Patient exp.: Satisfactory or higher
Need for internet connectivity and travel support
Kim et al., BMC Ophthalmology (2022)
Liu et al., Ophthalmology Retina (2022)
Blinder et al., Ophthalmology Retina (2023)
*Use of investigational home OCT device
Notes: A 335 patient cross-sectional study with 4 sites was performed, where nAMD patients self imaged with no additional assistance other than the on-device tutorial. The study found 91% of the patients were successful in performing self-imaging. This study enrolled patients with VA down to 20/400, the patients with VA > 20/320 showed significantly better ability to perform than those with worse VA. A subsequent study led by DrsHeier and Holekamp evaluated feasibility of home use of OCT device with 15 patients over 3 months, all patients had VA > 20/320. The study showed very high imageability rates, as well as good adherence with 5.7 scans/week. DRCR-net sponsored protocol AK, enrolled 14 patients, for a 6-month period at 3 sites. The study again found an excellent adherence rate at 6.3 scans per week and positive patient experience. The study noted the importance of internet connectivity in patient willingness to participate in such a remote monitoring program.

## Slide 174: Home OCT: The State of Evidence
1. SELF-IMAGING & HOME USE
2. AUTOMATED FLUID QUANTIFICATION
Kim et al.: High correlation between AI-based Notal OCT Analyzer (NOA) and expert graders: Pearson Correlation: 91.6%
Bland Altman Analysis; Mean diff.: - 2.7 nL
Liu et al.: 92% correlation between physician and NOA fluid detection
Blinder et al.: In cases of >10 nL of fluid (threshold for Protocol AO), AI algorithm and physician agreed 100% in detection of fluid
AI algorithm shows good correlation with expert graders
Example of 10.4 nL with fluid thickness map and B-scan
3. IMPACT ON PATIENT MANAGEMENT
*Use of investigational home OCT device
Notes: The next item on the list is evidence behind automated fluid quantification. Notal OCT analyzer or NOA is a deep learning algorithm that quantifies intraretinal and subretinal fluid in home OCT volumetric scans. Kim et. al. tested fidelity of this algorithm. They compared the NOA calculated fluid volumes with those obtained via manual segmentation performed by expert graders. The study reported a correlation of over 91% between NOA and the graders. The Bland Altman analysis showed a mean difference of 2.7 nL, with a 95% limit of agreement between +39.7 nL to -45.2 nL.
Study by Liu et. al focused on presence of fluid and found 92% agreement between NOA and retina specialist when determining presence of fluid. Blinder and others showed that in cases where more than 10-nL of fluid was present, there was 100% agreement between the reading center and NOA in regards to presence or absence of fluid.

## Slide 175: Home OCT: The State of Evidence
1. SELF-IMAGING & HOME USE
3. IMPACT ON PATIENT MANAGEMENT
2. AUTOMATED FLUID QUANTIFICATION
First ever trial with home OCT-guided patient management
15 treatment experienced patients from 3 sites
In-office visits determined based on home OCT generated notifications
Key finding
Physicians were able to significantly extend treatment intervals from 8.0 to 15.3 weeks using home OCT
Early results show potential of home OCT to reduce treatment burden
Holekamp et al., In press, RETINA (2024)
15.3
8.0
*Investigational and off-label use of home OCT device
Notes: Finally we look at the evidence available to date in regard to potential impact of home monitoring on patient management. A trial was recently conducted for the first time ever to not only test the feasibility of home OCT but also under its impact on patient management under an IRB approved protocol. This trial dmemonstrated showed use of home OCT resulted in significant reduction on treatment frequency compared to the treatment frequency for the same patients before starting the home OCT program. Specifically, average retreatment intervals were increased from 8 week/treatment to 15.3 weeks/treatment, while maintaining patient visual acuity.

## Slide 176: Home OCT: The State of Evidence
1. SELF-IMAGING & HOME USE
3. IMPACT ON PATIENT MANAGEMENT
2. AUTOMATED FLUID QUANTIFICATION
15 retina specialists retrospectively reviewed home OCT data and made treatment decisions which were compared to actual patient management
Home OCT guided decision not to treat: 43% of instances compared to standard of care
Home OCT guided decision to treat 7 days earlier: 61%
Home OCT data has significant impact on physician decision making
Heier, et. al, In Review, Journal of Vitreoretinal Disease. (2024)
Chart: Treatment not given based on Home OCT vs. Standard Care
| RS1 | RS2 | RS3 | RS4 | RS5 | RS6 | RS7 | RS8 | RS9 | RS10 | RS11 | RS12 | RS13 | RS14 | RS15
 | 4 | 3 | 2 | 2 | 5 | 7 | 4 | 1 | 6 | 5 | 9 | 4 | 3 | 5 | 4
42.7%
*describes off-label use of home OCT
Notes: Another study was performed to understand impact of home OCT on physician decision making. 15 retina specialist reviewed home OCT data, that was acquired from the studies where patients monitored on home OCT but the visit and treatment decisions were made per standard of care. Physicians decisions in presence of home OCT data were compared to those made in actual care. It was found that retina specialist didn’t treat patients in 42.7% of cases when they were treated in the real world. However, when they did decide to treat, there was a difference in treatment timing, and in two thirds of cases the decided to treat more than 1 week sooner than the standard of care.

## Slide 177: PIVTOAL TRIAL RESULTS

## Slide 178
Imageability At Home
  Self-imaging time: 48 seconds (mean)1
  Patients able to successfully activate: 97%1
  Self-imaging success attempts: 97%1
  In patients with BCVA of 20/320 or better1
AI Capability of Notal OCT Analyzer
  Image gradeability rate: 88%2
  AI agreement with graders nearly as high as agreement between graders2
Longitudinal Performance
  Adherence: 5.9 scans/week1
Service has been used by patients to self-image over 1,500 eyes in clinical trial settings
1. https://clinicaltrials.gov/study/NCT04907409
2 https://clinicaltrials.gov/study/NCT05202587
VU: Volume Units | SRO: Sub-retinal hypo-reflective spaces
TRO: Total retinal hypo-reflective spaces
AI-powered SCANLY Safe and Effective for wet-AMD Home Monitoring

## Slide 179: HOME OCT: SUMMARY
Multiple studies have shown feasibility and meaningful use of home OCT remote monitoring in management of nAMD patients
Use of AI for image analysis is essential to support physician data review
Monitoring center support is needed to implement remote care model
Multiple studies show promise of home OCT is significantly impacting management of the patients in exudative diseases
A randomized controlled DRCR Retina Network trial is under way to compare Home OCT guided management with treat and extend protocol

## Slide 180: In Summary: Options Galore

## Slide 181: Thank you to Heidelberg, Topcon, Zeiss, Optos, and NotalVision for providing slides and/or materials for this talk.

## Slide 182: 2024 SPN Vision Exchange
Q&A

## Slide 183: 2024 SPN Vision Exchange